{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":183,"n_cols":204,"rows_kept":183,"cut":false,"hidden":false,"merged":[[0,2,0,24],[0,25,0,35],[0,36,0,55],[0,56,0,93],[0,94,0,119],[0,120,0,128],[0,129,0,152],[0,153,0,165],[0,166,0,203],[3,0,102,0],[103,0,182,0]]}
[null,"test_display_name","DHCP Active Test",{"$nulls":22},"DNS Active Test",{"$nulls":10},"Ping Active Test",{"$nulls":19},"HTTPS Active Test",{"$nulls":37},"FTP Performance Active Test",{"$nulls":25},"IPERF 3 Client Test",{"$nulls":8},"TCP Echo Active Test",{"$nulls":23},"Traceroute Active Test",{"$nulls":12},"UDP Echo Active Test"]
[null,"header","result","discoversSent","requestsSent","offersRcvd","discoverResponseTime","requestResponseTime","addrAcquired","leaseTime","addrServer","rebindingTime","renewalTime","addrGateway","addrNextServer","errMessage","maskSubnet","timeOffset","addrRouter","addrTimeServer","addrDomainNameServer","addrLogServer","hostName","dumpFile","domainName","result","responseTime","answerCount","authorityCount","additionalRecordCount","responseCode","serverAddr","serverTested","hostname","serverName","srcInterfaceAddr","result","numNoResponse","endToEndDelayMin","endToEndDelayMax","endToEndDelayAvg","endToEndDelayMedian","endToEndDelayStdDev","endToEndDelayPercentileLo","endToEndDelayPercentileHi","percentLostPackets","avgJitter","medianJitter","stddevJitter","hostAddr","hostTested","hostName","DSCPChanged","DSCPChangedVal","DSCPOrigVal","srcInterfaceAddr","result","httpErrorCode","DNSTime","connectTime","disconnectTime","firstByteResponseTime","firstPageDownloadTime","numBytesFirstPage","firstPageEncryptedBytes","numRedirects","redirectTime","authenticationTime","downloadThrpt","embeddedObjectsNumObjects","embeddedObjectsNumDNSLookupFail","embeddedObjectsNumConnectFail","embeddedObjectsNumNoResponse","embeddedObjectsNumConnectionDrop","embeddedObjectsNumHTTPError","embeddedObjectsConnectTime","embeddedObjectsDNSTime","embeddedObjectsDownloadTime","embeddedObjectsNumBytes","embeddedObjectsEncryptedBytes","embeddedObjectsNumRedirect","embeddedObjectsRedirectTime","embeddedObjectsDisconnectTime","totalPageDownloadTime","sslVersion","embeddedObjectsNumObjectsV4","embeddedObjectsDNSTimeV4","embeddedObjectsDownloadTimeV4","embeddedObjectsNumObjectsV6","embeddedObjectsDNSTimeV6","embeddedObjectsDownloadTimeV6","srcInterfaceAddr","serverAddr","urlTested","result","ctrlChnlConnectTime","initGreetingTime","ctrlChnlDisconnectTime","errorResponse","ftpServer","userTime","passwdTime","cwdTime","typeTime","port1Time","port2Time","pasv1Time","pasv2Time","deleTime","quitTime","dataChnlConnectTime1","dataChnlConnectTime2","dataChnlDisconnectTime1","dataChnlDisconnectTime2","uploadTime","downloadTime","downloadsize","uploadThrpt","downloadThrpt","hostName","result","cmdLine","iperfOutput","interval","senderBytesSent","receiverBytesReceived","senderBandwidth","receiverBandwidth","senderRetransmits","result","connectMin","connectMax","connectAvg","endEndDelayMin","endEndDelayMax","endEndDelayAvg","endEndDelayMedian","endEndDelayStdDev","endEndDelayPercentileLo","endEndDelayPercentileHi","jitterBelow","jitterBetween","jitterAbove","jitterAverage","disconnectMin","disconnectMax","disconnectAvg","numConnectRefused","numConnectDrop","numConnectTimeout","numConnectUnreachable","numTransactComplete","serverAddr","result","hopCountDest","numICMPRepliesDest","networkTopologyChanged","addrDest","EEDMinDest","EEDMaxDest","EEDMedianDest","EEDAvgDest","EEDVarianceDest","hostTested","srcInterfaceAddr","routeHash","result","endEndDelayMin","endEndDelayMax","endEndDelayAvg","endEndDelayMedian","endEndDelayStdDev","endEndDelayPercentileLo","endEndDelayPercentileHi","jitterBelow","jitterBetween","jitterAbove","jitterAverage","outOfOrder","lostPackets","latePackets","totalLostPackets","percentLostPackets","latePackets2","totalLostPackets2","percentLostPackets2","latePackets3","totalLostPackets3","percentLostPackets3","duplicatePackets","noticeableLostPkts","noticeableLostPktRate","numInterLossPeriods","numInterLossPeriodsAvg","numInterLossPeriodsMax","numInterLossPeriodsMin","numLossPeriods","numLossPeriodsAvg","numLossPeriodsMax","numLossPeriodsMin","jitterMedian","jitterStdDev","serverAddr","serverTested"]
["sla_name","dt"]
["ATP-Expansion BRIX","2024-01-05T15:22:26.748",{"$nulls":23},2,{"$nulls":6},"159.192.32.20",null,null,"172.16.10.6"]
[null,"2024-01-05T15:21:21.557",{"$nulls":92},0,"1.1 kB","2.9 kB","4.2 kB",null,"159.192.3.60","1.3 kB","79.9 kB",null,"1.2 kB",null,null,"1.4 kB","7.9 kB","86.5 kB","1.9 kB","1.2 kB","1.1 kB","1.8 kB","3.8 kB","10.9 MB","5.4 MB","400.3 MB","293.9 MB","596.8 MB"]
[null,"2024-01-05T15:16:01.479",{"$nulls":23},2,{"$nulls":6},"8.8.8.8",null,null,"172.16.10.6"]
[null,"2024-01-05T15:15:47.212",{"$nulls":23},2,{"$nulls":6},"1.1.1.1",null,null,"172.16.10.6"]
[null,"2024-01-05T15:14:40.052",{"$nulls":23},0,"1.1 kB",1,0,0,0,"110.78.191.20","110.78.191.20","ntspeedtest.net",null,"172.16.10.6"]
[null,"2024-01-05T15:12:30.890",{"$nulls":92},0,"1.5 kB","3.1 kB","1.5 kB",null,"159.192.3.60","1.6 kB","75.0 kB",null,"1.5 kB",null,null,"1.6 kB","1.6 kB","82.9 kB","1.6 kB","1.4 kB","1.7 kB","3.0 kB","3.2 kB","10.7 MB","5.4 MB","401.4 MB","300.3 MB","593.0 MB"]
[null,"2024-01-05T15:11:11.558",{"$nulls":92},4]
[null,"2024-01-05T15:08:10.211",{"$nulls":23},0,"2.2 kB",1,0,0,0,"159.192.32.20","159.192.32.20","ntspeedtest.net",null,"172.16.10.6"]
[null,"2024-01-05T15:07:12.203",{"$nulls":23},0,"1.0 kB",1,0,0,0,"110.78.191.20","110.78.191.20","ntspeedtest.net",null,"172.16.10.6"]
[null,"2024-01-05T15:06:19.855",{"$nulls":92},0,"1.6 kB","3.1 kB","1.5 kB",null,"159.192.3.60","1.8 kB","73.3 kB",null,"1.6 kB",null,null,"1.6 kB","268.1 kB","78.6 kB","3.0 kB","1.3 kB","4.5 kB","5.7 kB","1.4 kB","10.9 MB","5.5 MB","401.4 MB","293.8 MB","585.9 MB"]
[null,"2024-01-05T15:06:16.484",{"$nulls":23},0,"2.2 kB",1,0,0,0,"110.78.191.21","110.78.191.21","ntspeedtest.net",null,"172.16.10.6"]
[null,"2024-01-05T15:05:38.189",{"$nulls":23},0,"29.0 kB",1,0,0,0,"8.8.8.8","8.8.8.8","ntspeedtest.net",null,"172.16.10.6"]
[null,"2024-01-05T15:03:38.378",{"$nulls":23},0,"4.1 kB",1,0,0,0,"1.1.1.1","1.1.1.1","ntspeedtest.net",null,"172.16.10.6"]
[null,"2024-01-05T15:02:58.875",{"$nulls":92},4]
[null,"2024-01-05T14:57:28.325",{"$nulls":92},0,"1.1 kB","2.9 kB",976,null,"159.192.3.60","1.2 kB","77.8 kB",null,"1.3 kB",null,null,"1.3 kB","2.5 kB","78.4 kB","2.7 kB","1.1 kB","2.6 kB","1.8 kB","3.7 kB","11.1 MB","5.4 MB","401.4 MB","288.5 MB","595.4 MB"]
[null,"2024-01-05T14:53:35.175",{"$nulls":23},2,{"$nulls":6},"8.8.8.8",null,null,"172.16.10.6"]
[null,"2024-01-05T14:51:37.833",{"$nulls":92},4]
[null,"2024-01-05T14:50:11.646",{"$nulls":23},2,{"$nulls":6},"110.78.191.20",null,null,"172.16.10.6"]
[null,"2024-01-05T14:49:49.701",{"$nulls":23},2,{"$nulls":6},"110.78.191.21",null,null,"172.16.10.6"]
[null,"2024-01-05T14:49:08.595",{"$nulls":23},2,{"$nulls":6},"1.1.1.1",null,null,"172.16.10.6"]
[null,"2024-01-05T14:48:14.544",{"$nulls":92},0,"1.2 kB","2.7 kB","1.1 kB",null,"159.192.3.60","1.3 kB","74.7 kB",null,"1.3 kB",null,null,"1.3 kB","1.6 kB","83.9 kB","1.3 kB","1.1 kB","1.0 kB","2.7 kB","3.4 kB","11.0 MB","5.4 MB","401.4 MB","292.2 MB","597.8 MB"]
[null,"2024-01-05T14:45:08.204",{"$nulls":92},0,"1.4 kB","3.2 kB","1.4 kB",null,"159.192.3.60","1.6 kB","72.4 kB",null,"1.7 kB",null,null,"1.6 kB","1.9 kB","85.1 kB","1.5 kB","1.4 kB","1.4 kB","1.8 kB","4.6 kB","11.0 MB","5.4 MB","401.1 MB","291.6 MB","591.4 MB"]
[null,"2024-01-05T14:43:43.562",{"$nulls":23},0,"1.5 kB",1,0,0,0,"159.192.32.20","159.192.32.20","ntspeedtest.net",null,"172.16.10.6"]
[null,"2024-01-05T14:37:45.412",{"$nulls":23},0,960,1,0,0,0,"110.78.191.21","110.78.191.21","ntspeedtest.net",null,"172.16.10.6"]
[null,"2024-01-05T14:35:59.396",{"$nulls":23},0,"1.1 kB",1,0,0,0,"110.78.191.20","110.78.191.20","ntspeedtest.net",null,"172.16.10.6"]
[null,"2024-01-05T14:30:41.872",{"$nulls":92},4]
[null,"2024-01-05T14:29:41.125",{"$nulls":92},4]
[null,"2024-01-05T14:28:17.658",{"$nulls":23},2,{"$nulls":6},"159.192.32.20",null,null,"172.16.10.6"]
[null,"2024-01-05T14:27:14.444",{"$nulls":23},2,{"$nulls":6},"1.1.1.1",null,null,"172.16.10.6"]
[null,"2024-01-05T14:25:50.233",{"$nulls":23},2,{"$nulls":6},"8.8.8.8",null,null,"172.16.10.6"]
[null,"2024-01-05T14:23:24.597",{"$nulls":23},2,{"$nulls":6},"8.8.8.8",null,null,"172.16.10.6"]
[null,"2024-01-05T14:20:57.947",{"$nulls":92},0,"1.1 kB","2.7 kB","1.0 kB",null,"159.192.3.60","1.3 kB","75.8 kB",null,"1.4 kB",null,null,"1.3 kB","166.5 kB","80.9 kB","1.2 kB","1.1 kB","2.0 kB","4.6 kB","3.7 kB","10.7 MB","5.4 MB","401.4 MB","301.0 MB","596.7 MB"]
[null,"2024-01-05T14:19:36.580",{"$nulls":92},4]
[null,"2024-01-05T14:19:01.487",0,3,1,1,"4.1 kB","1.6 kB","172.16.10.5","3.6 kB","172.16.10.1",0,0,"0.0.0.0","172.16.10.1",null,"255.255.255.0",0,"172.16.10.1","0.0.0.0","110.78.191.20","0.0.0.0"]
[null,"2024-01-05T14:19:01.463",6,3,1,1,"4.1 kB","1.6 kB","172.16.10.5","3.6 kB","172.16.10.1",0,0,"0.0.0.0","172.16.10.1",null,"255.255.255.0",0,"172.16.10.1","0.0.0.0","110.78.191.20","0.0.0.0"]
[null,"2024-01-05T14:17:25.370",{"$nulls":92},4]
[null,"2024-01-05T14:16:45.084",{"$nulls":92},0,"1.1 kB","2.7 kB",982,null,"159.192.3.60","1.4 kB","73.6 kB",null,"1.4 kB",null,null,"1.4 kB","236.6 kB","85.3 kB","1.2 kB","1.2 kB","1.5 kB","1.2 kB","4.0 kB","10.8 MB","5.5 MB","401.4 MB","298.0 MB","588.7 MB"]
[null,"2024-01-05T14:04:38.417",{"$nulls":92},4]
[null,"2024-01-05T14:03:42.846",{"$nulls":92},0,"1.5 kB","3.5 kB","3.8 kB",null,"159.192.3.60","1.7 kB","79.3 kB",null,"1.6 kB",null,null,"1.7 kB","2.6 kB","89.8 kB","2.8 kB","1.4 kB","1.6 kB","1.5 kB","1.4 kB","10.9 MB","5.4 MB","401.4 MB","294.9 MB","595.1 MB"]
[null,"2024-01-05T13:57:58.390",{"$nulls":92},4]
[null,"2024-01-05T13:49:50.443",{"$nulls":92},0,"1.2 kB","2.7 kB","1.1 kB",null,"159.192.3.60","1.3 kB","73.3 kB",null,"1.4 kB",null,null,"1.4 kB","2.1 kB","82.0 kB","1.3 kB","1.1 kB","2.8 kB","1.3 kB","2.2 kB","10.7 MB","5.4 MB","401.4 MB","299.5 MB","591.5 MB"]
[null,"2024-01-05T13:47:46.183",{"$nulls":92},0,"1.2 kB","2.9 kB","1.0 kB",null,"159.192.3.60","1.3 kB","82.2 kB",null,"1.2 kB",null,null,"1.4 kB","182.0 kB","78.5 kB","3.2 kB","1.1 kB","1.2 kB","1.4 kB","2.6 kB","10.7 MB","5.4 MB","401.4 MB","300.8 MB","594.2 MB"]
[null,"2024-01-05T13:25:34.972",0,3,1,1,"8.3 kB","1.5 kB","172.16.10.5","3.6 kB","172.16.10.1",0,0,"0.0.0.0","172.16.10.1",null,"255.255.255.0",0,"172.16.10.1","0.0.0.0","110.78.191.20","0.0.0.0"]
[null,"2024-01-05T13:25:34.954",6,3,1,1,"8.3 kB","1.5 kB","172.16.10.5","3.6 kB","172.16.10.1",0,0,"0.0.0.0","172.16.10.1",null,"255.255.255.0",0,"172.16.10.1","0.0.0.0","110.78.191.20","0.0.0.0"]
[null,"2024-01-05T12:53:52.009",0,3,1,1,"4.2 kB","1.6 kB","172.16.10.5","3.6 kB","172.16.10.1",0,0,"0.0.0.0","172.16.10.1",null,"255.255.255.0",0,"172.16.10.1","0.0.0.0","110.78.191.20","0.0.0.0"]
[null,"2024-01-05T12:53:51.988",6,3,1,1,"4.2 kB","1.6 kB","172.16.10.5","3.6 kB","172.16.10.1",0,0,"0.0.0.0","172.16.10.1",null,"255.255.255.0",0,"172.16.10.1","0.0.0.0","110.78.191.20","0.0.0.0"]
[null,"2024-01-05T11:44:49.695",0,3,1,1,"4.1 kB","1.5 kB","172.16.10.5","3.6 kB","172.16.10.1",0,0,"0.0.0.0","172.16.10.1",null,"255.255.255.0",0,"172.16.10.1","0.0.0.0","110.78.191.20","0.0.0.0"]
[null,"2024-01-05T11:44:49.674",6,3,1,1,"4.1 kB","1.5 kB","172.16.10.5","3.6 kB","172.16.10.1",0,0,"0.0.0.0","172.16.10.1",null,"255.255.255.0",0,"172.16.10.1","0.0.0.0","110.78.191.20","0.0.0.0"]
[null,"2024-01-05T11:02:00.022",0,3,1,1,"4.1 kB","1.6 kB","172.16.10.5","3.6 kB","172.16.10.1",0,0,"0.0.0.0","172.16.10.1",null,"255.255.255.0",0,"172.16.10.1","0.0.0.0","110.78.191.20","0.0.0.0"]
[null,"2024-01-05T11:01:59.998",6,3,1,1,"4.1 kB","1.6 kB","172.16.10.5","3.6 kB","172.16.10.1",0,0,"0.0.0.0","172.16.10.1",null,"255.255.255.0",0,"172.16.10.1","0.0.0.0","110.78.191.20","0.0.0.0"]
[null,"2024-01-05T10:07:44.909",0,3,1,1,"4.1 kB","1.5 kB","172.16.10.5","3.6 kB","172.16.10.1",0,0,"0.0.0.0","172.16.10.1",null,"255.255.255.0",0,"172.16.10.1","0.0.0.0","110.78.191.20","0.0.0.0"]
[null,"2024-01-05T10:07:44.885",6,3,1,1,"4.1 kB","1.5 kB","172.16.10.5","3.6 kB","172.16.10.1",0,0,"0.0.0.0","172.16.10.1",null,"255.255.255.0",0,"172.16.10.1","0.0.0.0","110.78.191.20","0.0.0.0"]
[null,"2024-01-05T08:14:18.671",0,3,1,1,"4.1 kB","1.5 kB","172.16.10.5","3.6 kB","172.16.10.1",0,0,"0.0.0.0","172.16.10.1",null,"255.255.255.0",0,"172.16.10.1","0.0.0.0","110.78.191.20","0.0.0.0"]
[null,"2024-01-05T08:14:18.647",6,3,1,1,"4.1 kB","1.5 kB","172.16.10.5","3.6 kB","172.16.10.1",0,0,"0.0.0.0","172.16.10.1",null,"255.255.255.0",0,"172.16.10.1","0.0.0.0","110.78.191.20","0.0.0.0"]
[null,"2024-01-05T07:11:20.264",0,3,1,1,"4.3 kB","1.7 kB","172.16.10.5","3.6 kB","172.16.10.1",0,0,"0.0.0.0","172.16.10.1",null,"255.255.255.0",0,"172.16.10.1","0.0.0.0","110.78.191.20","0.0.0.0"]
[null,"2024-01-05T07:11:20.240",6,3,1,1,"4.3 kB","1.7 kB","172.16.10.5","3.6 kB","172.16.10.1",0,0,"0.0.0.0","172.16.10.1",null,"255.255.255.0",0,"172.16.10.1","0.0.0.0","110.78.191.20","0.0.0.0"]
[null,"2024-01-05T06:30:49.547",0,3,1,1,"4.2 kB","1.4 kB","172.16.10.5","3.6 kB","172.16.10.1",0,0,"0.0.0.0","172.16.10.1",null,"255.255.255.0",0,"172.16.10.1","0.0.0.0","110.78.191.20","0.0.0.0"]
[null,"2024-01-05T06:30:49.526",6,3,1,1,"4.2 kB","1.4 kB","172.16.10.5","3.6 kB","172.16.10.1",0,0,"0.0.0.0","172.16.10.1",null,"255.255.255.0",0,"172.16.10.1","0.0.0.0","110.78.191.20","0.0.0.0"]
[null,"2024-01-05T06:02:02.214",0,3,1,1,"4.0 kB","1.4 kB","172.16.10.5","3.6 kB","172.16.10.1",0,0,"0.0.0.0","172.16.10.1",null,"255.255.255.0",0,"172.16.10.1","0.0.0.0","110.78.191.20","0.0.0.0"]
[null,"2024-01-05T06:02:02.190",6,3,1,1,"4.0 kB","1.4 kB","172.16.10.5","3.6 kB","172.16.10.1",0,0,"0.0.0.0","172.16.10.1",null,"255.255.255.0",0,"172.16.10.1","0.0.0.0","110.78.191.20","0.0.0.0"]
[null,"2023-12-30T23:08:25.012",{"$nulls":127},2,{"$nulls":17},1,0,1,1,0,"10.0.0.8"]
[null,"2023-12-30T23:05:07.560",{"$nulls":164},3,{"$nulls":12},100,{"$nulls":22},"10.0.0.8","10.0.0.8"]
[null,"2023-12-30T22:53:13.905",{"$nulls":164},3,{"$nulls":12},100,{"$nulls":22},"10.0.0.8","10.0.0.8"]
[null,"2023-12-30T22:40:32.868",{"$nulls":127},2,{"$nulls":17},1,0,1,1,0,"10.0.0.8"]
[null,"2023-12-30T22:36:31.371",{"$nulls":164},3,{"$nulls":12},100,{"$nulls":22},"10.0.0.8","10.0.0.8"]
[null,"2023-12-30T22:26:34.477",{"$nulls":164},3,{"$nulls":12},100,{"$nulls":22},"10.0.0.8","10.0.0.8"]
[null,"2023-12-30T22:23:12.056",{"$nulls":127},2,{"$nulls":17},1,0,1,1,0,"10.0.0.8"]
[null,"2023-12-30T22:11:03.444",{"$nulls":164},3,{"$nulls":12},100,{"$nulls":22},"10.0.0.8","10.0.0.8"]
[null,"2023-12-30T22:03:54.051",{"$nulls":127},2,{"$nulls":17},1,0,1,1,0,"10.0.0.8"]
[null,"2023-12-30T21:56:43.187",{"$nulls":127},2,{"$nulls":17},1,0,1,1,0,"10.0.0.8"]
[null,"2023-12-30T21:48:19.170",{"$nulls":164},3,{"$nulls":12},100,{"$nulls":22},"10.0.0.8","10.0.0.8"]
[null,"2023-12-30T21:38:11.063",{"$nulls":127},2,{"$nulls":17},1,0,1,1,0,"10.0.0.8"]
[null,"2023-12-30T21:36:51.448",{"$nulls":164},3,{"$nulls":12},100,{"$nulls":22},"10.0.0.8","10.0.0.8"]
[null,"2023-12-30T21:23:15.536",{"$nulls":127},2,{"$nulls":17},1,0,1,1,0,"10.0.0.8"]
[null,"2023-12-30T21:19:15.790",{"$nulls":164},3,{"$nulls":12},100,{"$nulls":22},"10.0.0.8","10.0.0.8"]
[null,"2023-12-30T21:02:21.253",{"$nulls":164},3,{"$nulls":12},100,{"$nulls":22},"10.0.0.8","10.0.0.8"]
[null,"2023-12-30T20:58:48.013",{"$nulls":127},2,{"$nulls":17},1,0,1,1,0,"10.0.0.8"]
[null,"2023-12-30T20:52:42.477",{"$nulls":164},3,{"$nulls":12},100,{"$nulls":22},"10.0.0.8","10.0.0.8"]
[null,"2023-12-30T20:40:22.022",{"$nulls":164},3,{"$nulls":12},100,{"$nulls":22},"10.0.0.8","10.0.0.8"]
[null,"2023-12-30T20:39:50.567",{"$nulls":127},3,{"$nulls":17},0,0,0,0,0,"10.0.0.8"]
[null,"2023-12-30T20:27:27.092",{"$nulls":164},3,{"$nulls":12},100,{"$nulls":22},"10.0.0.8","10.0.0.8"]
[null,"2023-12-30T20:19:22.339",{"$nulls":127},2,{"$nulls":17},1,0,1,1,0,"10.0.0.8"]
[null,"2023-12-30T20:06:19.157",{"$nulls":164},3,{"$nulls":12},100,{"$nulls":22},"10.0.0.8","10.0.0.8"]
[null,"2023-12-30T20:02:29.380",{"$nulls":127},3,{"$nulls":17},0,0,0,0,0,"10.0.0.8"]
[null,"2023-12-30T19:52:44.096",{"$nulls":164},3,{"$nulls":12},100,{"$nulls":22},"10.0.0.8","10.0.0.8"]
[null,"2023-12-30T19:43:05.975",{"$nulls":164},3,{"$nulls":12},100,{"$nulls":22},"10.0.0.8","10.0.0.8"]
[null,"2023-12-30T19:43:01.156",{"$nulls":127},3,{"$nulls":17},0,0,0,0,0,"10.0.0.8"]
[null,"2023-12-30T19:20:23.060",{"$nulls":127},2,{"$nulls":17},1,0,1,1,0,"10.0.0.8"]
[null,"2023-12-30T19:16:34.719",{"$nulls":164},3,{"$nulls":12},100,{"$nulls":22},"10.0.0.8","10.0.0.8"]
[null,"2023-12-30T19:12:47.330",{"$nulls":127},3,{"$nulls":17},0,0,0,0,0,"10.0.0.8"]
[null,"2023-12-30T19:06:20.264",{"$nulls":164},3,{"$nulls":12},100,{"$nulls":22},"10.0.0.8","10.0.0.8"]
[null,"2023-12-30T19:00:04.252",{"$nulls":127},2,{"$nulls":17},1,0,1,1,0,"10.0.0.8"]
[null,"2023-12-30T18:56:28.284",{"$nulls":164},3,{"$nulls":12},100,{"$nulls":22},"10.0.0.8","10.0.0.8"]
[null,"2023-12-30T18:38:17.511",{"$nulls":127},3,{"$nulls":17},0,0,0,0,0,"10.0.0.8"]
[null,"2023-12-30T18:34:52.747",{"$nulls":164},3,{"$nulls":12},100,{"$nulls":22},"10.0.0.8","10.0.0.8"]
[null,"2023-12-30T18:23:42.208",{"$nulls":127},2,{"$nulls":17},1,0,1,1,0,"10.0.0.8"]
[null,"2023-12-30T18:22:57.458",{"$nulls":164},3,{"$nulls":12},100,{"$nulls":22},"10.0.0.8","10.0.0.8"]
[null,"2023-12-30T17:53:53.658",{"$nulls":127},2,{"$nulls":17},1,0,1,1,0,"10.0.0.8"]
[null,"2023-12-30T17:48:14.001",{"$nulls":127},2,{"$nulls":17},1,0,1,1,0,"10.0.0.8"]
[null,"2023-12-30T17:14:19.865",{"$nulls":127},3,{"$nulls":17},0,0,0,0,0,"10.0.0.8"]
["BV110_RBI","2024-01-05T15:21:54.974",{"$nulls":151},0,8,3,0,"110.78.191.20","4.4 kB","4.5 kB","4.4 kB","4.5 kB",41,"110.78.191.20","0.0.0.0/32","4AD2E952F2C18CB80FA0D10CEB18B31B"]
[null,"2024-01-05T15:21:48.059",{"$nulls":151},0,12,3,0,"8.8.8.8","30.6 kB","30.6 kB","30.6 kB","30.6 kB",20,"8.8.8.8","0.0.0.0/32","C4B06A2FF29C148F6D046410FAF0CAB9"]
[null,"2024-01-05T15:15:16.707",{"$nulls":34},0,0,"4.9 kB","5.0 kB","4.9 kB","4.9 kB",73,"4.9 kB","5.0 kB",0,47,44,30,"159.192.3.60","159.192.3.60",null,0]
[null,"2024-01-05T15:14:16.709",{"$nulls":34},0,0,"4.7 kB","4.9 kB","4.8 kB","4.8 kB",104,"4.7 kB","4.8 kB",0,169,198,86,"159.192.8.17","ntspeedtest.net","ntspeedtest.net",0]
[null,"2024-01-05T15:13:26.905",{"$nulls":151},0,8,3,0,"110.78.191.20","4.4 kB","4.5 kB","4.5 kB","4.5 kB",51,"110.78.191.20","0.0.0.0/32","4AD2E952F2C18CB80FA0D10CEB18B31B"]
[null,"2024-01-05T15:13:19.990",{"$nulls":151},0,12,3,0,"8.8.8.8","30.6 kB","30.6 kB","30.6 kB","30.6 kB",29,"8.8.8.8","0.0.0.0/32","C4B06A2FF29C148F6D046410FAF0CAB9"]
[null,"2024-01-05T15:13:01.961",{"$nulls":151},0,8,3,0,"110.78.191.20","4.4 kB","4.5 kB","4.4 kB","4.5 kB",65,"110.78.191.20","0.0.0.0/32","4AD2E952F2C18CB80FA0D10CEB18B31B"]
[null,"2024-01-05T15:12:55.046",{"$nulls":151},0,12,3,0,"8.8.8.8","30.6 kB","30.6 kB","30.6 kB","30.6 kB",15,"8.8.8.8","0.0.0.0/32","C4B06A2FF29C148F6D046410FAF0CAB9"]
[null,"2024-01-05T15:03:58.876",{"$nulls":151},0,8,3,0,"110.78.191.20","4.4 kB","4.4 kB","4.4 kB","4.4 kB",9,"110.78.191.20","0.0.0.0/32","4AD2E952F2C18CB80FA0D10CEB18B31B"]
[null,"2024-01-05T15:03:51.966",{"$nulls":151},0,12,3,0,"8.8.8.8","30.6 kB","30.6 kB","30.6 kB","30.6 kB",13,"8.8.8.8","0.0.0.0/32","C4B06A2FF29C148F6D046410FAF0CAB9"]
[null,"2024-01-05T15:00:04.752",{"$nulls":151},0,8,3,0,"110.78.191.20","4.4 kB","4.7 kB","4.5 kB","4.5 kB",136,"110.78.191.20","0.0.0.0/32","4AD2E952F2C18CB80FA0D10CEB18B31B"]
[null,"2024-01-05T14:59:57.841",{"$nulls":151},0,12,3,0,"8.8.8.8","30.6 kB","30.6 kB","30.6 kB","30.6 kB",19,"8.8.8.8","0.0.0.0/32","C4B06A2FF29C148F6D046410FAF0CAB9"]
[null,"2024-01-05T14:57:44.361",{"$nulls":151},0,8,3,0,"110.78.191.20","4.5 kB","4.5 kB","4.5 kB","4.5 kB",5,"110.78.191.20","0.0.0.0/32","4AD2E952F2C18CB80FA0D10CEB18B31B"]
[null,"2024-01-05T14:57:37.447",{"$nulls":151},0,12,3,0,"8.8.8.8","30.6 kB","30.7 kB","30.6 kB","30.6 kB",50,"8.8.8.8","0.0.0.0/32","C4B06A2FF29C148F6D046410FAF0CAB9"]
[null,"2024-01-05T14:51:24.696",{"$nulls":34},0,0,"4.8 kB","5.1 kB","4.9 kB","4.9 kB",105,"4.8 kB","5.0 kB",0,139,157,84,"159.192.3.60","159.192.3.60",null,0]
[null,"2024-01-05T14:51:15.521",{"$nulls":34},0,0,"31.1 kB","31.2 kB","31.2 kB","31.1 kB",29,"31.1 kB","31.2 kB",0,38,37,24,"142.250.4.94","www.google.co.th","www.google.co.th",0]
[null,"2024-01-05T14:50:58.741",{"$nulls":151},0,8,3,0,"110.78.191.20","4.4 kB","4.5 kB","4.4 kB","4.5 kB",52,"110.78.191.20","0.0.0.0/32","4AD2E952F2C18CB80FA0D10CEB18B31B"]
[null,"2024-01-05T14:50:51.826",{"$nulls":151},0,12,3,0,"8.8.8.8","30.6 kB","30.6 kB","30.6 kB","30.6 kB",9,"8.8.8.8","0.0.0.0/32","C4B06A2FF29C148F6D046410FAF0CAB9"]
[null,"2024-01-05T14:50:24.700",{"$nulls":34},0,0,"4.6 kB","4.8 kB","4.7 kB","4.7 kB",84,"4.6 kB","4.7 kB",0,90,93,62,"159.192.8.17","ntspeedtest.net","ntspeedtest.net",0]
[null,"2024-01-05T14:50:15.494",{"$nulls":34},0,0,"5.3 kB","5.5 kB","5.4 kB","5.4 kB",58,"5.4 kB","5.4 kB",0,64,75,47,"202.183.165.12","www.kapook.com","www.kapook.com",0]
[null,"2024-01-05T14:47:01.631",{"$nulls":34},0,0,"4.8 kB","6.7 kB","5.3 kB","5.0 kB",783,"4.9 kB","5.0 kB",0,951,941,958,"159.192.3.60","159.192.3.60",null,0]
[null,"2024-01-05T14:46:44.697",{"$nulls":151},0,8,3,0,"110.78.191.20","4.4 kB","4.5 kB","4.5 kB","4.4 kB",45,"110.78.191.20","0.0.0.0/32","4AD2E952F2C18CB80FA0D10CEB18B31B"]
[null,"2024-01-05T14:46:37.785",{"$nulls":151},0,12,3,0,"8.8.8.8","30.5 kB","30.6 kB","30.6 kB","30.6 kB",67,"8.8.8.8","0.0.0.0/32","C4B06A2FF29C148F6D046410FAF0CAB9"]
[null,"2024-01-05T14:46:01.633",{"$nulls":34},0,0,"4.7 kB","4.8 kB","4.8 kB","4.8 kB",43,"4.7 kB","4.8 kB",0,72,79,20,"159.192.8.17","ntspeedtest.net","ntspeedtest.net",0]
[null,"2024-01-05T14:42:22.954",{"$nulls":151},0,8,3,0,"110.78.191.20","4.4 kB","4.4 kB","4.4 kB","4.4 kB",32,"110.78.191.20","0.0.0.0/32","4AD2E952F2C18CB80FA0D10CEB18B31B"]
[null,"2024-01-05T14:42:16.043",{"$nulls":151},0,12,3,0,"8.8.8.8","30.5 kB","30.6 kB","30.6 kB","30.6 kB",32,"8.8.8.8","0.0.0.0/32","C4B06A2FF29C148F6D046410FAF0CAB9"]
[null,"2024-01-05T14:38:45.329",{"$nulls":118},0,"iperf3 -c 159.192.8.4 -P 40 ","iperf3 -c 159.192.8.4 -P 40 \n<===stderr output===>\niperf3: error - unable to connect to server: Connection refused\niperf exit code ==>256\n"]
[null,"2024-01-05T14:35:56.833",{"$nulls":151},0,8,3,0,"110.78.191.20","4.4 kB","4.6 kB","4.4 kB","4.5 kB",136,"110.78.191.20","0.0.0.0/32","4AD2E952F2C18CB80FA0D10CEB18B31B"]
[null,"2024-01-05T14:35:49.921",{"$nulls":151},0,12,3,0,"8.8.8.8","30.5 kB","30.6 kB","30.6 kB","30.6 kB",71,"8.8.8.8","0.0.0.0/32","C4B06A2FF29C148F6D046410FAF0CAB9"]
[null,"2024-01-05T14:35:03.635",{"$nulls":34},0,0,"4.4 kB","4.5 kB","4.4 kB","4.4 kB",39,"4.4 kB","4.4 kB",0,31,25,17,"110.78.191.21","110.78.191.21",null,0]
[null,"2024-01-05T14:34:03.635",{"$nulls":34},0,0,"4.4 kB","4.5 kB","4.5 kB","4.5 kB",23,"4.5 kB","4.5 kB",0,30,30,22,"110.78.191.20","110.78.191.20",null,0]
[null,"2024-01-05T14:33:03.661",{"$nulls":34},0,0,"30.6 kB","30.6 kB","30.6 kB","30.6 kB",23,"30.6 kB","30.6 kB",0,16,8,20,"8.8.8.8","8.8.8.8",null,1,32,0]
[null,"2024-01-05T14:27:56.544",{"$nulls":34},0,0,"4.9 kB","5.0 kB","5.0 kB","5.0 kB",67,"4.9 kB","5.0 kB",0,78,63,61,"159.192.3.60","159.192.3.60",null,0]
[null,"2024-01-05T14:26:56.547",{"$nulls":34},0,0,"4.7 kB","4.9 kB","4.8 kB","4.8 kB",72,"4.8 kB","4.8 kB",0,111,107,73,"159.192.8.17","ntspeedtest.net","ntspeedtest.net",0]
[null,"2024-01-05T14:18:10.510",{"$nulls":34},0,0,"4.9 kB","4.9 kB","4.9 kB","4.9 kB",29,"4.9 kB","4.9 kB",0,26,21,25,"159.192.3.60","159.192.3.60",null,0]
[null,"2024-01-05T14:17:10.513",{"$nulls":34},0,0,"4.6 kB","4.9 kB","4.7 kB","4.7 kB",95,"4.7 kB","4.8 kB",0,126,135,78,"159.192.8.17","ntspeedtest.net","ntspeedtest.net",0]
[null,"2024-01-05T14:13:46.979",{"$nulls":34},0,0,"4.5 kB","4.5 kB","4.5 kB","4.5 kB",29,"4.5 kB","4.5 kB",0,44,43,25,"110.78.191.21","110.78.191.21",null,0]
[null,"2024-01-05T14:12:46.979",{"$nulls":34},0,0,"4.4 kB","4.5 kB","4.5 kB","4.5 kB",23,"4.5 kB","4.5 kB",0,29,32,14,"110.78.191.20","110.78.191.20",null,0]
[null,"2024-01-05T14:11:47.006",{"$nulls":34},0,0,"30.6 kB","30.6 kB","30.6 kB","30.6 kB",17,"30.6 kB","30.6 kB",0,22,19,18,"8.8.8.8","8.8.8.8",null,1,32,0]
[null,"2024-01-05T13:50:42.935",{"$nulls":34},0,0,"31.4 kB","31.5 kB","31.5 kB","31.5 kB",41,"31.5 kB","31.5 kB",0,54,54,17,"74.125.130.94","www.google.co.th","www.google.co.th",0]
[null,"2024-01-05T13:50:27.786",{"$nulls":34},0,0,"4.8 kB","5.0 kB","4.9 kB","4.9 kB",69,"4.8 kB","4.9 kB",0,109,102,48,"159.192.3.60","159.192.3.60",null,0]
[null,"2024-01-05T12:25:07.914",{"$nulls":118},0,"iperf3 -c 159.192.8.4 -P 40 ","iperf3 -c 159.192.8.4 -P 40 \n<===stderr output===>\niperf3: error - unable to connect to server: Connection refused\niperf exit code ==>256\n"]
[null,"2024-01-05T11:21:16.422",{"$nulls":118},0,"iperf3 -c 159.192.8.4 -P 40 ","iperf3 -c 159.192.8.4 -P 40 \n<===stderr output===>\niperf3: error - unable to connect to server: Connection refused\niperf exit code ==>256\n"]
[null,"2024-01-05T09:17:32.017",{"$nulls":118},0,"iperf3 -c 159.192.8.4 -P 40 ","iperf3 -c 159.192.8.4 -P 40 \n<===stderr output===>\niperf3: error - unable to connect to server: Connection refused\niperf exit code ==>256\n"]
[null,"2024-01-05T06:33:56.934",{"$nulls":118},0,"iperf3 -c 159.192.8.4 -P 40 ","iperf3 -c 159.192.8.4 -P 40 \n<===stderr output===>\niperf3: error - unable to connect to server: Connection refused\niperf exit code ==>256\n"]
[null,"2024-01-05T05:10:39.516",{"$nulls":118},0,"iperf3 -c 159.192.8.4 -P 40 ","iperf3 -c 159.192.8.4 -P 40 \n<===stderr output===>\niperf3: error - unable to connect to server: Connection refused\niperf exit code ==>256\n"]
[null,"2024-01-05T01:44:05.441",{"$nulls":118},0,"iperf3 -c 159.192.8.4 -P 40 ","iperf3 -c 159.192.8.4 -P 40 \n<===stderr output===>\niperf3: error - unable to connect to server: Connection refused\niperf exit code ==>256\n"]
[null,"2024-01-05T00:45:06.796",{"$nulls":118},0,"iperf3 -c 159.192.8.4 -P 40 ","iperf3 -c 159.192.8.4 -P 40 \n<===stderr output===>\niperf3: error - unable to connect to server: Connection refused\niperf exit code ==>256\n"]
[null,"2024-01-04T21:34:49.745",{"$nulls":118},0,"iperf3 -c 159.192.8.4 -P 40 ","iperf3 -c 159.192.8.4 -P 40 \n<===stderr output===>\niperf3: error - unable to connect to server: Connection refused\niperf exit code ==>256\n"]
[null,"2024-01-04T19:40:05.250",{"$nulls":118},0,"iperf3 -c 159.192.8.4 -P 40 ","iperf3 -c 159.192.8.4 -P 40 \n<===stderr output===>\niperf3: error - unable to connect to server: Connection refused\niperf exit code ==>256\n"]
[null,"2024-01-04T17:55:57.782",{"$nulls":118},0,"iperf3 -c 159.192.8.4 -P 40 ","iperf3 -c 159.192.8.4 -P 40 \n<===stderr output===>\niperf3: error - unable to connect to server: Connection refused\niperf exit code ==>256\n"]
[null,"2024-01-04T17:13:15.992",{"$nulls":118},0,"iperf3 -c 159.192.8.4 -P 40 ","iperf3 -c 159.192.8.4 -P 40 \n<===stderr output===>\niperf3: error - unable to connect to server: Connection refused\niperf exit code ==>256\n"]
[null,"2024-01-04T13:28:51.863",{"$nulls":118},0,"iperf3 -c 159.192.8.4 -P 40 ","iperf3 -c 159.192.8.4 -P 40 \n<===stderr output===>\niperf3: error - unable to connect to server: Connection refused\niperf exit code ==>256\n"]
[null,"2024-01-04T12:25:53.742",{"$nulls":118},0,"iperf3 -c 159.192.8.4 -P 40 ","iperf3 -c 159.192.8.4 -P 40 \n<===stderr output===>\niperf3: error - unable to connect to server: Connection refused\niperf exit code ==>256\n"]
[null,"2024-01-04T10:12:35.331",{"$nulls":118},0,"iperf3 -c 159.192.8.4 -P 40 ","iperf3 -c 159.192.8.4 -P 40 \n<===stderr output===>\niperf3: error - unable to connect to server: Connection refused\niperf exit code ==>256\n"]
[null,"2024-01-04T09:33:44.994",{"$nulls":54},0,200,"4.4 kB","10.5 kB","5.0 kB","24.8 kB","203.2 kB","288.7 kB","288.7 kB",1,"9.9 kB",0,"11.4 MB",0,0,0,0,0,0,0,0,0,0,0,0,0,0,"233.0 kB",5,0,0,0,0,0,0,null,"203.151.128.172","www.sanook.com"]
[null,"2024-01-04T09:33:43.892",{"$nulls":54},0,200,"4.5 kB","31.8 kB",0,"64.8 kB","100.1 kB","21.7 kB",0,0,0,0,"1.7 MB",0,0,0,0,0,0,0,0,0,0,0,0,0,0,"136.5 kB",0,0,0,0,0,0,0,null,"74.125.130.94","www.google.co.th"]
[null,"2024-01-04T09:33:42.835",{"$nulls":54},0,200,"4.4 kB","11.7 kB","5.7 kB","7.5 kB","43.7 kB","159.0 kB","159.0 kB",1,"6.3 kB",0,"29.1 MB",0,0,0,0,0,0,0,0,0,0,0,0,0,0,"71.9 kB",5,0,0,0,0,0,0,null,"110.164.205.207","www.mthai.com"]
[null,"2024-01-04T09:33:41.853",{"$nulls":54},0,200,"4.4 kB","10.9 kB","9.8 kB","12.2 kB","64.6 kB","67.6 kB","67.6 kB",1,"6.9 kB",0,"8.4 MB",0,0,0,0,0,0,0,0,0,0,0,0,0,0,"96.7 kB",5,0,0,0,0,0,0,null,"202.183.165.117","www.kapook.com"]
[null,"2024-01-04T09:33:41.754",{"$nulls":54},0,200,"4.4 kB","16.3 kB","8.1 kB","64.7 kB","102.8 kB","183.4 kB","183.4 kB",1,"8.9 kB",0,"14.3 MB",0,0,0,0,0,0,0,0,0,0,0,0,0,0,"140.6 kB",5,0,0,0,0,0,0,null,"49.0.199.229","www.dek-d.com"]
[null,"2024-01-04T09:33:36.122",{"$nulls":54},0,200,"4.5 kB","4.7 kB","4.5 kB","9.5 kB","11.1 kB",585,0,0,0,0,"425.5 kB",0,0,0,0,0,0,0,0,0,0,0,0,0,0,"24.8 kB",0,0,0,0,0,0,0,null,"202.57.155.224","www.manager.co.th"]
[null,"2024-01-04T09:33:35.241",{"$nulls":54},4,{"$nulls":36},"www.thairath.co.th"]
[null,"2024-01-04T09:33:34.626",{"$nulls":54},4,{"$nulls":36},"www.siamsport.co.th"]
[null,"2024-01-04T08:18:12.961",{"$nulls":118},0,"iperf3 -c 159.192.8.4 -P 40 ","iperf3 -c 159.192.8.4 -P 40 \n<===stderr output===>\niperf3: error - unable to connect to server: Connection refused\niperf exit code ==>256\n"]
[null,"2024-01-04T06:50:34.550",{"$nulls":118},0,"iperf3 -c 159.192.8.4 -P 40 ","iperf3 -c 159.192.8.4 -P 40 \n<===stderr output===>\niperf3: error - unable to connect to server: Connection refused\niperf exit code ==>256\n"]
[null,"2024-01-04T05:15:21.600",{"$nulls":118},0,"iperf3 -c 159.192.8.4 -P 40 ","iperf3 -c 159.192.8.4 -P 40 \n<===stderr output===>\niperf3: error - unable to connect to server: Connection refused\niperf exit code ==>256\n"]
[null,"2024-01-04T02:41:02.273",{"$nulls":118},0,"iperf3 -c 159.192.8.4 -P 40 ","iperf3 -c 159.192.8.4 -P 40 \n<===stderr output===>\niperf3: error - unable to connect to server: Connection refused\niperf exit code ==>256\n"]
[null,"2024-01-03T23:34:00.850",{"$nulls":118},0,"iperf3 -c 159.192.8.4 -P 40 ","iperf3 -c 159.192.8.4 -P 40 \n<===stderr output===>\niperf3: error - unable to connect to server: Connection refused\niperf exit code ==>256\n"]
[null,"2024-01-03T03:18:33.787",{"$nulls":54},0,200,"4.4 kB","10.7 kB","5.0 kB","12.2 kB","59.1 kB","289.7 kB","289.7 kB",1,"21.7 kB",0,"39.2 MB",0,0,0,0,0,0,0,0,0,0,0,0,0,0,"100.8 kB",5,0,0,0,0,0,0,null,"203.151.128.172","www.sanook.com"]
[null,"2024-01-03T03:18:32.818",{"$nulls":54},0,200,"4.5 kB","31.9 kB",0,"64.1 kB","101.4 kB","21.3 kB",0,0,0,0,"1.7 MB",0,0,0,0,0,0,0,0,0,0,0,0,0,0,"137.8 kB",0,0,0,0,0,0,0,null,"74.125.24.94","www.google.co.th"]
[null,"2024-01-03T03:18:31.764",{"$nulls":54},0,200,"4.3 kB","11.7 kB","5.7 kB","7.4 kB","43.6 kB","159.3 kB","159.3 kB",1,"6.3 kB",0,"29.2 MB",0,0,0,0,0,0,0,0,0,0,0,0,0,0,"71.7 kB",5,0,0,0,0,0,0,null,"110.164.205.207","www.mthai.com"]
[null,"2024-01-03T03:18:30.806",{"$nulls":54},0,200,"5.2 kB","10.9 kB","5.4 kB","12.1 kB","90.2 kB","639.1 kB","639.1 kB",1,"6.8 kB",0,"56.7 MB",0,0,0,0,0,0,0,0,0,0,0,0,0,0,"118.4 kB",5,0,0,0,0,0,0,null,"202.183.165.12","www.kapook.com"]
[null,"2024-01-03T03:18:30.679",{"$nulls":54},0,200,"4.4 kB","16.9 kB","9.1 kB","59.6 kB","97.6 kB","187.1 kB","187.1 kB",1,"9.7 kB",0,"15.3 MB",0,0,0,0,0,0,0,0,0,0,0,0,0,0,"137.7 kB",5,0,0,0,0,0,0,null,"94.74.116.230","www.dek-d.com"]
[null,"2024-01-03T03:18:25.053",{"$nulls":54},0,200,"4.5 kB","4.6 kB","4.4 kB","10.5 kB","12.2 kB",585,0,0,0,0,"390.0 kB",0,0,0,0,0,0,0,0,0,0,0,0,0,0,"25.7 kB",0,0,0,0,0,0,0,null,"202.57.155.224","www.manager.co.th"]
[null,"2024-01-03T03:18:24.079",{"$nulls":54},4,{"$nulls":36},"www.thairath.co.th"]
[null,"2024-01-03T03:18:23.240",{"$nulls":54},4,{"$nulls":36},"www.siamsport.co.th"]
[null,"2024-01-02T03:28:08.345",{"$nulls":54},0,200,"4.4 kB","10.1 kB","4.8 kB","13.2 kB","64.0 kB","288.9 kB","288.9 kB",1,"16.8 kB",0,"36.1 MB",0,0,0,0,0,0,0,0,0,0,0,0,0,0,"100.1 kB",5,0,0,0,0,0,0,null,"203.151.130.56","www.sanook.com"]
[null,"2024-01-02T03:28:07.373",{"$nulls":54},0,200,"4.5 kB","31.6 kB",0,"62.4 kB","97.7 kB","21.2 kB",0,0,0,0,"1.7 MB",0,0,0,0,0,0,0,0,0,0,0,0,0,0,"133.8 kB",0,0,0,0,0,0,0,null,"172.217.194.94","www.google.co.th"]
[null,"2024-01-02T03:28:06.324",{"$nulls":54},0,200,"4.4 kB","11.7 kB","5.7 kB","7.2 kB","44.0 kB","159.5 kB","159.5 kB",1,"6.3 kB",0,"29.0 MB",0,0,0,0,0,0,0,0,0,0,0,0,0,0,"72.1 kB",5,0,0,0,0,0,0,null,"110.164.205.207","www.mthai.com"]
[null,"2024-01-02T03:28:05.347",{"$nulls":54},0,200,"4.4 kB","10.9 kB","5.6 kB","11.7 kB","73.7 kB","640.0 kB","640.0 kB",1,"9.0 kB",0,"69.5 MB",0,0,0,0,0,0,0,0,0,0,0,0,0,0,"103.5 kB",5,0,0,0,0,0,0,null,"202.183.165.49","www.kapook.com"]